## Cost Summary
Applicant:
Ensure the third-party Cost Estimate data is entered on the CHFA Cost Summary (below) and is represented in the Development Budget tab of the Excel Application. All square footage and costs must be reconciled between the third-party Cost Estimate and back-up documentation (architectural drawings and Excel Application). Failure to provide reconciled information leads to delays and inability to proceed.
Cost Estimator / Preparer:
1. Ensure information is consistent by entering square footage, unit and parcel size into the green shaded cells in the table below. 2. Provide a third-party Cost Estimate on company letterhead. The third-party Cost Estimate must support the CHFA Cost Summary (below) and should include: (a) contact information (b) Construction Specification Institute (CSI) standard format (and current Masterformat, Divisions 01 through 48 as applicable) (c) line item assumptions and associated costs within each category. Provide the type of materials assumed for each line item, and quantity takeoff where possible. 3. Do not use lump sums or general per-square-foot allocation of costs (where possible), which may be viewed as insufficient and lead to delay and inability to proceed.
Name of Project: | [enter name here] | Common Area SF (for NRSF) | GSF Bldg. | NRSF Bldg | # of Units | Parcel Size/ Site SF | # of parking spaces
| Excel Application | 0 | 0 | 0 | 0 | 0 | 0
| Architectural drawings | 0 | 0 | 0 | 0 | n/a | 0
| Third-party Cost Estimate | 0 | 0 | 0 | 0 | 0 | 0
| Difference | 0 | 0 | 0 | 0 | 0 | 0
CSI Division | CSI Division Description | Cost | $/ GSf | $ / NRSF | $ / Unit | $/ Parcel SF | % / Hard Cost | Estimator Comments
Note - include any hard cost allowances within specific scope of work as applicable, comment/clarify as necessary
00 00 00 | Procurement and Contracting | Include costs where noted below
01 00 00 | General Requirements | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
02 00 00 | Existing Conditions | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
03 00 00 | Concrete | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
04 00 00 | Masonry | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
05 00 00 | Metals | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
06 00 00 | Wood, Plastics & Composites | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
07 00 00 | Thermal and Moisture Protection | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
08 00 00 | Openings | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
09 00 00 | Finishes | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10 00 00 | Specialities | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11 00 00 | Equipment | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12 00 00 | Furnishings | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13 00 00 | Special Construction | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14 00 00 | Conveying Equipment | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
21 00 00 | Fire Suppression | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
22 00 00 | Plumbing | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
23 00 00 | Heating Ventilation Air Conditioning | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
25 00 00 | Integrated Automation | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
26 00 00 | Electrical | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
27 00 00 | Communications | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
28 00 00 | Electronic Safety & Security | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
31 00 00 | Earthwork | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
32 00 00 | Exterior Improvements | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
33 00 00 | Utilities | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
34 00 00 | Transportation | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
48 00 00 | Electrical Power Generation | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| [Other - describe] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| [Other - describe] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Subtotal Div 1- 48 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| (Other costs /mark-up) describe in next line items | Costs here are not included in Overhead or General Conditions / General Requirements
| Procurement Pre-constructon, Design-Build | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| [Other - describe] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| [Other - describe] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| [Other - describe] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Subtotal Other | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Payment & Performance Bond | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Builders Risk | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| General Liability | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Wrap Insurance Program | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| [Other - describe] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Subtotal Bonds & Insurance | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Contingency (Contractor's) | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Contractor Overhead | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Contractor Profit | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Cost progression/ escalation | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Permits | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Sales, Use Taxe, etc. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Subtotal Contingency, OH&P, etc. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Total | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Updated December 2025

## SD_Dropdowns (hidden)
Adams | 261 | New Construction & Acquisition/Rehabilitation | 19 | Family | 5
Alamosa | 198 | Acquisition | 11 | Handicapped | 6
Arapahoe | 199 | New Construction & Rehab Only | 20 | Mixed | 7
Archuleta | 200 | Acquisition/Rehabilitation | 12 | Other | 8
Baca | 201 | New Const w/Fed Subsidies | 13 | Senior | 11
Bent | 202 | New Construction | 14 | Disabled | 12
Boulder | 203 | Rehabilitation w/Fed Subsidies | 15 | Assisted Living | 13
Broomfield | 204 | Rehabilitation w/out Fed Subsidies | 16 | Homeless | 14
Chaffee | 205 | Rehab Only | 17 | Veterrans | 15
Cheyenne | 206 | N/A | 18 | AIDS/HIV | 16
Clear Creek | 207 |  |  | Special Needs | 17
Conejos | 208 |  |  | Permanent Supportive Housing | 18
Costilla | 209
Crowley | 210
Custer | 211
Delta | 212
Denver | 213
Dolores | 214
Douglas | 215
Eagle | 216
El Paso | 217
Elbert | 218
Fremont | 219
Garfield | 220
Gilpin | 221
Grand | 222
Gunnison | 223
Hinsdale | 224
Huerfano | 225
Jackson | 226
Jefferson | 227
Kiowa | 228
Kit Carson | 229
La Plata | 230
Lake | 231
Larimer | 232
Las Animas | 233
Lincoln | 234
Logan | 235
Mesa | 236
Mineral | 237
Moffat | 238
Montezuma | 239
Montrose | 240
Morgan | 241
Otero | 242
Ouray | 243
Park | 244
Phillips | 245
Pitkin | 246
Prowers | 247
Pueblo | 248
Rio Blanco | 249
Rio Grande | 250
Routt | 251
Saguache | 252
San Juan | 253
San Miguel | 254
Sedwick | 255
Summit | 256
Teller | 257
Washington | 258
Weld | 259
Yuma | 260

## Summary Line Description
MASTERFORMAT MULTI-FAMILY RESIDENTIAL AND LIGHT COMMERCIAL*
* full descriptions of all items are available at CSI Masterformat 2014 http://www.csinet.org/masterformat
DIVISION | DIVISION TITLE
00 00 00 | PROCUREMENT AND CONTRACTING REQ | Quantity | Unit | $/Unit | Total | Estsimator Comments
00 11 19 | request for proposal
00 11 53 | request for qualifications
00 25 13 | pre-bid meetings
00 25 16 | pre-proposal meetings
00 31 43 | permit application
00 31 46 | permits - mitigations - fees
00 41 00 | bid forms
00 60 00 | project forms
00 61 00 | bond forms
00 62 00 | certificates and other forms
Subtotal
01 00 00 | GENERAL REQUIREMENTS | Quantity | Unit | $/Unit | Total | Comments
01 10 00 | summary
01 31 00 | project management and coordination
01 31 13 | project coordination
01 31 14 | facility services coordination
01 31 19 | project meetings
01 31 23 | project website
01 31 26 | electronic communication protocols
01 32 00 | construction progress documentation
01 32 13 | scheduling of work
01 32 16 | construction progress schedule
01 32 19 | submittals schedule
01 32 23 | survey and layout data
01 32 26 | construction progress reporting
01 32 33 | photographic documentation
01 32 43 | purchase order tracking
01 33 00 | submittal procedures
01 35 00 | special procedures
01 35 23 | owner safety procedures
01 35 43 | environmental procedures
01 35 46 | indoor air quality
01 35 53 | security procedures
01 40 00 | quality requirements
01 41 00 | regulatory requirements
01 42 00 | references
01 43 00 | quality assurance
01 43 36 | field samples
01 43 39 | mockups
01 45 00 | quality control
01 46 23 | testing and inspection services
01 50 00 | temporary facilities and controls
01 51 00 | temporary utilities
01 51 13 | temporary electricity
01 51 19 | temporary fuel oil
01 51 23 | temporary hvac
01 51 26 | temporary lighting
01 51 33 | temporary telecommunications
01 51 36 | temporary water
01 52 00 | construction facilities
01 52 13 | field offices and sheds
01 52 16 | first aid facilities
01 52 19 | sanitary facilities
01 53 00 | temporary construction
01 54 00 | construction aids
01 54 16 | temporary hoists
01 54 19 | temporary cranes
01 54 23 | temporary scaffolding and platforms
01 55 00 | vehicular access and parking
01 56 00 | temporary barriers and enclosures
01 56 23 | temporary barricades
01 56 26 | temporary fencing
01 56 39 | temporary tree and plant protection
01 57 00 | temporary controls
01 57 13 | temporary erosion and sediment control
01 57 16 | temporary pest control
01 57 19 | temporary enviropnmental controls
01 57 23 | temporary storm water pollution control
01 60 00 | product requirements
01 70 00 | execution and closeout requirements
01 71 13 | mobilization
01 71 23 | field engineering
01 71 33 | protection of adjacent construction
01 73 00 | execution
01 74 00 | cleaning and waste management
01 74 13 | progress cleaning
01 74 16 | site maintenance
01 74 19 | construction waste management and disposal
01 74 23 | final cleaning
01 75 00 | starting and adjusting
01 76 00 | protecting installed construction
01 77 00 | closeout procedures
01 93 13 | facility maintenance procedures
Subtotal
02 00 00 | EXISTING CONDITIONS | Quantity | Unit | $/Unit | Total | Comments
02 01 00 | maintenance of existing conditions
02 01 50 | maintenance of site remediation
02 05 00 | common work results for existing conditions
02 05 19 | geosynthetics for existing conditions
02 06 00 | schedules for existing conditions
02 21 00 | surveys
02 22 00 | existing conditions assessment
02 24 00 | environmental assessment
02 25 00 | existing material assessment
02 26 00 | hazardous material assessment
02 31 00 | geophysical investigations
02 32 00 | geotechnical investigations
02 41 13 | selective site demolition
02 41 16 | structure demolition
02 42 00 | removal and salvage of construction materials
02 43 00 | structure moving
02 50 00 | site remediation
02 60 00 | contaminated site material removal
02 70 00 | water remediation
02 80 00 | facility remediation
Subtotal
03 00 00 | CONCRETE | Quantity | Unit | $/Unit | Total | Comments
03 11 00 | concrete forming
03 11 19 | insulating concrete forming
03 15 00 | concrete accessories
03 16 00 | concrete anchors
03 21 00 | reinforcing steel
03 22 00 | welded wire fabric reinforcing
03 24 00 | fibrous reinforcing
03 25 00 | composite reinforcing
03 30 00 | cast-in-place concrete
03 31 00 | structural concrete
03 31 16 | lightweight structural concrete
03 31 23 | high-performance structural concrete
03 33 00 | architectural concrete
03 35 00 | concrete finishing
03 37 00 | specially placed concrete
03 37 16 | concrete pumps
03 38 00 | post-tensioned concrete
03 39 00 | concrete curing
03 40 00 | precast concrete
03 47 00 | site-cast concrete
03 47 13 | tilt-up concrete
03 48 00 | precast concrete specialties
03 50 00 | cast decks and underlayment
03 60 00 | grouting
03 70 00 | mass concrete
03 80 00 | concrete cutting and boring
Subtotal
04 00 00 | MASONRY | Quantity | Unit | $/Unit | Total | Comments
04 20 00 | unit masonry
04 22 00 | concrete unit masonry
04 23 00 | glass unit masonry
04 24 00 | adobe unit masonry
04 25 00 | unit masonry panels
04 26 00 | single-wythe unit masonry
04 27 00 | multiple-wythe unit masonry
04 43 00 | stone masonry
04 50 00 | refractory masonry
04 57 00 | masonry fireplaces
04 57 33 | modular masonry fireplaces
04 73 00 | manufactured stone masonry
Subtotal
05 00 00 | METALS | Quantity | Unit | $/Unit | Total | Comments
05 05 23 | metal fastenings
05 12 00 | structural steel framing
05 20 00 | metal joists
05 21 00 | steel joists framing
05 40 00 | cold-formed metal framing
05 41 00 | structural metal stud framing
05 42 00 | cold-formed metal joist framing
05 50 00 | metal fabrications
05 70 00 | decorative metal
Subtotal
06 00 00 | WOOD, PLASTICS AND COMPOSITES | Quantity | Unit | $/Unit | Total | Comments
06 05 23 | wood, plastic and composite fastenings
06 05 73 | wood treatments
06 05 83 | shop-applied wood coatings
06 10 00 | rough carpentry
06 11 00 | wood framing
06 12 00 | structural panels
06 15 00 | wood decking
06 16 00 | sheathing
06 16 13 | insulating sheathing
06 16 23 | subflooring
06 16 26 | underlayment
06 16 43 | gypsum sheathing
06 16 63 | cementitious sheathing
06 17 13 | laminated veneer lumber
06 17 23 | parallel strand lumber
06 17 25 | laminated strand lumber
06 17 27 | oriented strand lumber
06 17 33 | wood i-joists
06 17 36 | metal-web wood joists
06 17 43 | rim boards
06 17 53 | shop-fabricated wood trusses
06 18 13 | glued-laminated beams
06 20 23 | interior finish carpentry
06 22 13 | standard pattern wood trim
06 25 00 | prefinished panelling
06 26 00 | board panelling
06 42 00 | wood panelling
06 42 16 | wood-veneer panelling
06 42 19 | plastic-laminate-faced wood panelling
06 42 99 | interior handrails
06 43 00 | wood stairs and railings
06 44 13 | wood turnings
06 44 16 | wood pilasters
06 44 19 | wood grilles
06 44 23 | wood corbels
06 44 26 | wood cupolas
06 44 29 | wood finials
06 44 33 | wood mantels
06 44 36 | wood pediment heads
06 44 39 | wood posts and columns
06 46 13 | wood door and window casings
06 46 16 | wood aprons
06 46 19 | wood base and shoe moldings
06 46 23 | wood chair rails
06 46 26 | wood cornices
06 46 99 | wood crown
06 50 00 | structural plastics
06 51 13 | plastic lumber
06 53 00 | plastic decking
06 63 00 | plastic railings
06 66 00 | custom ornamental simulated woodwork
06 71 13 | composite lumber
06 72 13 | composite joist assemblies
06 73 13 | composite structural decking
06 81 00 | composite railings
06 83 00 | composite panelling
Subtotal
07 00 00 | THERMAL AND MOISTURE PROTECTION | Quantity | Unit | $/Unit | Total | Comments
07 11 00 | damproofing
07 13 00 | sheet waterproofing
07 14 00 | fluid-applied waterproofing
07 19 00 | water repellents
07 21 00 | thermal insulation
07 21 13 | board insulation
07 21 16 | blanket insulation
07 21 19 | foamed-in-place insulation
07 21 23 | loose-fill insulation
07 21 26 | blown insulation
07 21 99 | visqueen
07 22 00 | roof and deck insulation
07 30 05 | roof felt and underlayment
07 31 00 | shingles and shakes
07 31 13 | asphalt shingles
07 31 16 | metal shingles
07 31 19 | mineral-fiber cement shingles
07 31 29 | wood shingles and shakes
07 31 33 | composite rubber shingles
07 31 53 | plastic shakes
07 32 13 | clay roof tiles
07 32 16 | concrete roof tiles
07 32 19 | metal roof tiles
07 32 26 | plastic roof tiles
07 41 00 | roof panels
07 41 13 | metal roof panels
07 41 43 | composite roof panels
07 42 13 | metal wall panels
07 42 43 | composite wall panels
07 44 00 | faced panels
07 46 23 | wood siding
07 46 26 | hardboard siding
07 46 33 | plastic siding
07 46 46 | fiber-cement siding
07 52 00 | modified bituminous sheet roofing
07 53 00 | elastomeric membrane roofing
07 54 00 | thermoplastic membrane roofing
07 56 00 | fluid-applied roofing
07 57 00 | coated foam roofing
07 58 00 | roll roofing
07 61 00 | sheet metal roofing
07 62 00 | sheet metal flashing and trim
07 71 23 | manufactured gutters and downspouts
07 72 26 | ridge vents
07 72 27 | eave vents
07 72 29 | roof exhaust vents
07 72 36 | smoke vents
07 77 00 | wall specialties
07 81 00 | applied fireproofing
07 81 33 | mineral-fiber fireproofing
07 84 00 | firestopping
07 87 00 | smoke containment barriers
Subtotal
08 00 00 | OPENINGS | Quantity | Unit | $/Unit | Total | Comments
08 11 00 | metal doors and frames
08 14 13 | carved wood doors
08 14 16 | flush wood doors
08 14 23 | clad wood doors
08 14 29 | prefinished wood doors
08 14 33 | stile and rail doors
08 14 73 | sliding wood doors
08 14 76 | bifolding wood doors
08 15 00 | plastic doors
08 16 00 | composite doors
08 16 13 | fiberglass doors
08 16 73 | sliding composite doors
08 16 76 | bifolding composite doors
08 17 00 | integrated door opening assemblies
08 30 00 | specialty doors and frames
08 31 13 | access doors and frames
08 31 16 | access panels and frames
08 32 00 | sliding glass doors
08 33 23 | overhead coiling doors
08 34 00 | special function doors
08 35 00 | folding doors and grilles
08 38 00 | traffic doors
08 41 00 | entrances and storefronts
08 44 33 | sloped glazing assemblies
08 50 00 | windows
08 50 66 | window screens
08 56 00 | special function windows
08 60 00 | roof windows and skylights
08 71 00 | door hardware
08 74 00 | access control hardware
08 79 00 | hardware accessories
08 79 13 | key storage equipment
08 81 13 | decorative glass glazing
08 83 00 | mirrors
Subtotal
09 00 00 | FINISHES | Quantity | Unit | $/Unit | Total | Comments
09 21 13 | plaster assemblies
09 21 16 | gypsum board assemblies
09 21 16.23 | gypsum board shaft wall assemblies
09 21 16.33 | gypsum board area separation wall assemblies
09 22 13 | metal furring
09 22 16 | non-structural metal framing
09 22 26 | suspension systems
09 22 36 | lath
09 25 00 | other plastering
09 30 13 | ceramic tiling
09 30 16 | quarry tiling
09 30 19 | paver tiling
09 30 23 | glass mosaic tiling
09 30 26 | plastic tiling
09 30 29 | metal tiling
09 30 33 | stone tiling
09 30 36 | concrete tiling
09 30 39 | brick tiling
09 31 00 | thin-set tiling
09 32 00 | mortar-bed tiling
09 33 00 | conductive tiling
09 34 00 | waterproofing-membrane tiling
09 51 00 | acoustic ceilings
09 53 00 | acoustical ceiling suspension assemblies
09 54 00 | specialty ceilings
09 57 00 | special function ceilings
09 61 13 | acoustic underlayment
09 61 00 | flooring treatment
09 62 12 | asphaltic plank flooring
09 62 19 | laminate flooring
09 62 23 | bamboo flooring
09 62 29 | cork flooring
09 63 00 | masonry flooring
09 64 00 | wood flooring
09 65 00 | resilient flooring
09 66 00 | terrazzo flooring
09 67 00 | fluid-applied flooring
09 68 00 | carpeting
09 70 00 | wall finishes
09 72 00 | wall coverings
09 75 00 | stone facing
09 77 00 | special wall surfacing
09 80 00 | acoustic treatment
09 84 00 | acoustic room components
09 91 13 | exterior painting
09 91 23 | interior painting
09 93 13 | exterior staining and finishing
09 93 23 | interior staining and finishing
09 94 13 | textured finishing
09 94 16 | faux finishing
09 94 19 | multicolor interior finishing
09 96 00 | high-performance coatings
09 97 00 | special coatings
Subtotal
10 00 00 | SPECIALTIES | Quantity | Unit | $/Unit | Total | Comments
10 11 00 | visual display units
10 12 00 | display cases
10 14 00 | signage & street numbers
10 21 13 | toilet compartments
10 21 16 | shower & dressing compartments
10 22 19 | demountable partitions
10 22 33 | accordian folding partitions
10 26 00 | wall and door protection
10 26 13 | corner guards
10 26 19 | bumper guards
10 28 13 | toilet accessories
10 28 16 | bath accessories
10 28 19 | tub and shower doors
10 28 23 | laundry accessories
10 28 99 | grab bars
10 31 00 | manufactured fireplaces
10 32 19 | fireplace screens
10 32 23 | fireplace doors
10 35 00 | stoves
10 41 00 | emergency access and information cabinets
10 43 00 | emergency aid specialties
10 44 00 | fire protection specialties
10 50 00 | storage specialties
10 51 00 | lockers
10 55 00 | postal specialties
10 56 13 | metal storage shelving
10 56 16 | fabricated wood storage shelving
10 56 17 | wall-mounted standards and shelving
10 56 23 | wire storage shelving
10 56 29 | storage racks
10 57 13 | hat and coat racks
10 57 23 | closet and utility shelving
10 70 00 | exterior specialties
10 71 16 | storm panels
10 73 13 | awnings
10 73 16 | canopies
10 73 23 | car shelters
10 73 26 | walkway coverings
10 73 33 | marquees
10 74 00 | exterior clocks
10 74 23 | cupolas
10 74 33 | weathervanes
10 74 43 | below-grade egress assemblies
10 74 46 | window wells
10 75 00 | flagpoles
10 80 00 | other specialties
10 84 13 | exterior gas lighting
Subtotal
11 00 00 | EQUIPMENT | Quantity | Unit | $/Unit | Total | Comments
11 13 00 | loading dock equipment
11 20 00 | commercial equipment
11 24 19 | vacuum cleaning systems
11 30 00 | residential equipment
11 31 13 | residential kitchen appliances
11 31 23 | residential laundry appliances
11 33 00 | retractable stairs
11 34 00 | residential ceiling fans
11 40 00 | food service equipment
11 50 00 | educational and scientific equipment
11 60 00 | entertainment equipment
11 70 00 | healthcare equipment
11 82 00 | solid waste disposal equipment
11 91 00 | religious equipment
11 91 13 | baptistries
11 92 00 | agricultural equipment
11 93 00 | horticultural equipment
11 95 00 | arts and crafts equipment
Subtotal
12 00 00 | FURNISHINGS | Quantity | Unit | $/Unit | Total | Comments
12 10 00 | art
12 20 00 | window treatments
12 30 00 | casework - cabinets - hardware
12 31 00 | manufactured metal casework
12 32 13 | manufactured wood-veneer-faced casework
12 32 16 | manufactured plastic-laminate-clad casework
12 35 00 | specialty casework
12 36 13 | concrete countertops
12 36 16 | metal countertops
12 36 19 | wood countertops
12 36 23 | plastic countertops
12 36 23.13 | plastic-laminate-clad countertops
12 36 40 | stone countertops
12 36 53 | labratory countertops
12 36 61 | simulated stone countertops
12 40 00 | furnishings and accessories
12 44 16 | shower curtains
12 46 19 | clocks
12 46 33 | waste receptacles
12 48 00 | rugs and mats
12 50 00 | furniture
12 60 00 | multiple seating
12 90 00 | other furnishings
12 92 00 | interior planters and artificial plants
12 93 13 | bicycle racks
12 93 23 | trash and litter receptors
12 93 33 | manufactured planters
12 93 43 | site seating and tables
Subtotal
13 00 00 | SPECIAL CONSTRUCTION | Quantity | Unit | $/Unit | Total | Comments
13 11 00 | swimming pools
13 12 13 | exterior fountains
13 12 23 | interior fountains
13 17 00 | tubs and pools
13 19 00 | kennels and animal shelters
13 20 00 | special purpose rooms
13 21 00 | controlled environment rooms
13 24 16 | saunas
13 27 53 | security vaults
13 30 00 | special structures
13 31 00 | fabric structures
13 32 00 | space frames
13 34 00 | fabricated engineered structures
13 34 13.13 | greenhouses
13 34 13.16 | solariums
13 34 13.19 | swimming pool enclosures
13 34 13.23 | sunrooms
13 34 13.26 | conservatories
13 34 18 | post frame building systems
13 34 19 | metal building systems
13 34 23 | fabricated structures
13 36 00 | towers
13 40 00 | intergrated construction
13 50 00 | special instrumentation
Subtotal
14 00 00 | CONVEYING EQUIPMENT | Quantity | Unit | $/Unit | Total | Comments
14 10 00 | dumbwaiters
14 20 00 | elevators
14 40 00 | lifts
14 42 00 | wheelchair lifts
14 70 00 | turntables
14 80 00 | scaffolding
14 90 00 | other conveying equipment
14 91 00 | facility chutes
Subtotal
21 00 00 | FIRE SUPPRESSION | Quantity | Unit | $/Unit | Total | Comments
21 07 00 | fire suppression systems insulation
21 10 00 | water-based fire suppression systems
21 12 00 | fire suppression standpipes
21 13 00 | fire suppression sprinkler system
21 20 00 | fire extinguishing systems
21 30 00 | fire pumps
21 40 00 | fire suppression water storage
Subtotal
22 00 00 | PLUMBING | Quantity | Unit | $/Unit | Total | Comments
22 07 00 | plumbing insulation
22 09 00 | instrumentation and control for plumbing
22 10 00 | plumbing piping
22 30 00 | plumbing equipment
22 40 00 | plumbing fixtures
22 47 00 | drinking fountains and water coolers
22 50 00 | pool and fountain plumbing systems
Subtotal
23 00 00 | HVAC | Quantity | Unit | $/Unit | Total | Comments
23 07 00 | hvac insulation
23 10 00 | facility fuel systems
23 20 00 | hvac piping and pumps
23 21 13 | hydronic piping
23 30 00 | hvac air distribution
23 38 13 | commercial kitchen hoods
23 40 00 | hvac air cleaning devices
23 50 00 | central heating equipment
23 60 00 | central cooling equipment
23 70 00 | central hvac equipment
23 80 00 | decentralized hvac equipment
Subtotal
25 00 00 | INTEGRATED AUTOMATION | Quantity | Unit | $/Unit | Total | Comments
25 10 00 | integrated automation network equipment
25 30 00 | integrated auto instrumentation and terminal devices
25 50 00 | integrated automation facility controls
Subtotal
26 00 00 | ELECTRICAL | Quantity | Unit | $/Unit | Total | Comments
26 09 13 | electrical power monitoring
26 09 16 | electrical controls & relays
26 09 17 | programmable controllers
26 09 23 | lighting control devices
26 09 33 | central dimming controls
26 09 43 | network lighting controls
26 09 61 | theatrical lighting controls
26 10 00 | med voltage electrical distribution & service
26 20 00 | low voltage electrical transmission
26 30 00 | facility electrical power generation and storing equip
26 40 00 | electrical and cathodic protection
26 51 00 | interior lighting
26 52 00 | emergency lighting
26 53 00 | exit signs
26 54 00 | classified location lighting
26 55 00 | special purpose lighting
26 56 00 | exterior lighting
Subtotal
27 00 00 | COMMUNICATIONS | Quantity | Unit | $/Unit | Total | Comments
27 10 00 | structured cabling
27 20 00 | data communications
27 30 00 | voice communications
27 40 00 | audio-video communications
27 50 00 | distributed communications monitoring systems
27 60 00 | wireless transceivers
Subtotal
28 00 00 | ELECTRONIC SAFETY AND SECURITY | Quantity | Unit | $/Unit | Total | Comments
28 10 00 | electronic access control and intrusion detection
28 20 00 | electronic surveillance
28 30 00 | electronic detection and alarm
28 40 00 | electronic monitoring and control
Subtotal
31 00 00 | EARTHWORK | Quantity | Unit | $/Unit | Total | Comments
31 09 00 | geotechnical instrumentation and monitoring
31 11 00 | clearing and grubbing
31 12 00 | selective clearing
31 13 00 | selective tree and shrub removal and trimming
31 14 00 | earth stripping and stockpiling
31 22 13 | rough grading
31 22 16 | fine grading
31 22 19 | finish grading
31 23 13 | subgrade preparation
31 23 16 | excavation
31 23 19 | dewatering
31 23 23 | fill
31 23 33 | trenching and backfilling
31 30 00 | earthwork methods
31 31 00 | soil treatment
31 32 00 | soil stabilization
31 33 00 | rock stabilization
31 34 00 | soil reinforcement
31 35 00 | slope protection
31 36 00 | gabions
31 37 00 | riprap
31 40 00 | shoring and underpinning
31 50 00 | excavation support and protection
31 51 00 | anchor tiebacks
31 52 00 | cofferdams
31 54 00 | ground freezing
31 60 00 | special foundations and load-bearing elements
31 62 00 | driven piles
31 63 00 | bored piles
31 68 00 | foundation anchors
Subtotal
32 00 00 | EXTERIOR IMPROVEMENTS | Quantity | Unit | $/Unit | Total | Comments
32 11 16 | subbase courses
32 11 23 | aggregate base courses
32 11 26 | asphaltic base courses
32 11 36 | concrete base courses
32 12 13 | asphalt paving
32 12 33 | flexible paving surface treatments
32 12 36 | seal coats
32 13 13 | concrete paving
32 13 16 | decorative concrete paving
32 15 00 | aggregate surfacing
32 16 13 | curbs and gutters
32 16 23 | sidewalks
32 16 33 | driveways
32 17 13 | parking bumpers
32 17 16 | speed bumps
32 17 23 | pavement markings
32 18 00 | athletic and recreational surfacing
32 30 00 | site improvements
32 31 00 | fences and gates
32 32 00 | retaining walls
32 34 00 | fabricated bridges
32 39 00 | manufactured site specialties
32 70 00 | wetlands
32 71 00 | constructed wetlands
32 72 00 | wetlands restoration
32 80 00 | irrigation
32 90 00 | planting
32 92 00 | turf and grasses
Subtotal
33 00 00 | UTILITIES | Quantity | Unit | $/Unit | Total | Comments
33 10 00 | water utilities
33 20 00 | wells
33 30 00 | sanitary sewerage utilities
33 36 00 | utility septic tanks & fields
33 40 00 | storm drainage utilities
33 50 00 | fuel distribution utilities
33 60 00 | hydronic and steam energy utilities
33 70 00 | electric utilities
33 80 00 | communications utilities
Subtotal
34 00 00 | TRANSPORTATION | Quantity | Unit | $/Unit | Total | Comments
34 10 00 | guideways/ railways
34 40 00 | transportation signaling and control equipment
34 50 00 | transportation fare collection equipment
34 70 00 | transportation construction and equipment
34 80 00 | bridges
Subtotal
48 00 00 | ELECTRICAL POWER GENERATION | Quantity | Unit | $/Unit | Total | Comments
48 11 26 | Fossil Fuel Electrical Power Plant Generators
48 14 00 | waterway bank protection
35 51 00 | floating construction
35 52 00 | offshore platform construction
Subtotal
Total